## pvc pipes
SUPPLY AND DELIVERY OF UPVC PIPES AND FITTINGS
TENDER No. Embe/2026-2027/01
| DESCRIPTION | Length | QTY | PRICES
Grey Colour - UPVC Pressure Pipes KSISO 1452 (Imperial)
1 | ½" UPVC pipes to PN 10 | No. | 1
2 | ¾ UPVC pipes to PN 10 | No. | 1
3 | 1" UPVC pipes to PN 10 | No. | 1
4 | 1½" UPVC pipes to PN 10 | No. | 1
5 | 2" UPVC pipes to PN 10 | No. | 1
6 | 3" UPVC pipes toPN 10 | No. | 1
7 | 4" UPVC pipes to PN 10 | No. | 1
8 | 6" UPVC pipes to PN 10 | No. | 1
9 | 8" UPVC pipes to PN 10 | No. | 1
10 | 10" UPVC pipes to PN 10 | No. | 1
11 | 12" UPVC pipes to PN 10 | No. | 1
Grey Colour - UPVC Pressure Pipes KSISO 1452 (Imperial)
| ITEM DESCIPTION |  | QTY
12 | ½" UPVC pipes to PN 12.5 | No | 1
13 | ¾ UPVC pipes to PN 12.5 | No | 1
14 | 1" UPVC pipes to PN 12.5 | No | 1
15 | 1½" UPVC pipes to PN 12.5 | No | 1
16 | 2" UPVC pipes to PN 12.5 | No | 1
17 | 3" UPVC pipes to PN 12.5 | No | 1
18 | 4" UPVC pipes to PN 12.5 | No | 1
19 | 6" UPVC pipes to PN 12.5 | No | 1
20 | 8" UPVC pipes to PN 12.5 | No | 1
21 | 10" UPVC pipes to PN 12.5 | No | 1
22 | 12" UPVC pipes to PN 12.5 | No | 1
Grey Colour - UPVC Pressure Pipes KSISO 1452 (metro)
| DESCRIPTION | Length | QTY
23 | ½" UPVC pipes to PN 16 | No | 1
24 | ¾ UPVC pipes to PN 16 | No | 1
25 | 1" UPVC pipes to PN 16 | No | 1
| 11/4" UPVC pipes to PN 16 |  | 1
26 | 1½" UPVC pipes to PN 16 | No | 1
27 | 2" UPVC pipes to PN 16 | No | 1
27 | 21/2" UPVC pipes to PN 16 | No | 1
28 | 3" UPVC pipes to PN 16 | No | 1
29 | 4" UPVC pipes to PN 16 | No | 1
30 | 6" UPVC pipes to PN 16 | No | 1
| 8" UPVC pipes to PN 16 | No | 1
31 | 9" UPVC pipes to PN 16 | No | 1
32 | 10" UPVC pipes to PN 16 | No | 1
33 | 12" UPVC pipes to PN 16 | No | 1
34 | 14" UPVC pipes to PN 16 | No | 1
| ITEM DESCRIPTION |  | QTY
Grey Colour - KS ISO 1452 - Metric
35 | UPVC Pipes ( metric series) 20mm PN 10 | No | 1
36 | UPVC Pipes ( metric series) 25mm PN 10 | No | 1
37 | UPVC Pipes ( metric series) 32mm PN 10 | No | 1
38 | UPVC Pipes ( metric series) 50mm PN 10 | No | 1
39 | UPVC Pipes ( metric series) 63mm PN 10 | No | 1
40 | UPVC Pipes ( metric series) 75mm PN 10 | No | 1
41 | UPVC Pipes ( metric series) 90mm PN 10 | No | 1
42 | UPVC Pipes ( metric series) 110mm PN 10 | No | 1
43 | UPVC Pipes ( metric series) 160mm PN 10 | No | 1
| UPVC Pipes ( metric series) 180mm PN 10 | No | 1
44 | UPVC Pipes (metric series) 200mm PN 10 | No | 1
45 | UPVC Pipes (metric series) 220mm PN 11 | No | 1
46 | UPVC Pipes (metric series) 225mm PN 10 | No | 1
47 | UPVC Pipes ( metric series) 280mm PN 10 | No | 1
48 | UPVC Pipes ( metric series) 315mm PN 10 | No | 1
49 | UPVC Pipes ( metric series) 355mm PN 10 | No | 1
50 | UPVC Pipes ( metric series) 400mm PN 10 | No | 1
| ITEM DESCRIPTION |  | QTY
ISO 1452 (1-5):2009 - Metric Grey Colour
51 | UPVC Pipes ( metric series) 20mm PN 12.5 | No | 1
52 | UPVC Pipes ( metric series) 25mm PN 12.5 | No | 1
53 | UPVC Pipes ( metric series) 32mm PN 12.5 | No | 1
54 | UPVC Pipes ( metric series) 50mm PN 12.5 | No | 1
55 | UPVC Pipes ( metric series) 63mm PN 12.5 | No | 1
56 | UPVC Pipes ( metric series) 90mm PN 12.5 | No | 1
57 | UPVC Pipes ( metric series) 110mm PN 12.5 | No | 1
58 | UPVC Pipes ( metric series) 160mm PN 12.5 | No | 1
59 | UPVC Pipes ( metric series) 225mm PN 12.5 | No | 1
60 | UPVC Pipes ( metric series) 280mm PN 12.5 | No | 1
61 | UPVC Pipes ( metric series) 315mm PN 12.5 | No | 1
63 | UPVC Pipes ( metric series) 20mm PN 16 | No | 1
64 | UPVC Pipes ( metric series) 25mm PN 16 | No | 1
65 | UPVC Pipes (metric series) 32mm PN 16 | No | 1
66 | UPVC Pipes ( metric series) 50mm PN 16 | No | 1
67 | UPVC Pipes ( metric series) 63mm PN 16 | No | 1
68 | UPVC Pipes ( metric series) 75mm PN 16 | No | 1
69 | UPVC Pipes ( metric series) 90mm PN 16 | No | 1
70 | UPVC Pipes ( metric series) 110mm PN 16 | No | 1
71 | UPVC Pipes (metric series) 160mm PN 16 | No | 1
72 | UPVC Pipes (metric series) 200mm PN 16 | No | 1
73 | UPVC Pipes (metric series) 220mm PN 16 | No | 1
74 | UPVC Pipes ( metric series) 225mm PN 16 | No | 1
75 | UPVC Pipes ( metric series) 280mm PN 16 | No | 1
76 | UPVC Pipes ( metric series) 315mm PN 16 | No | 1
77 | UPVC Pipes ( metric series) 355mm PN 16 | No | 1
78 | UPVC Pipes ( metric series) 400mm PN 16 | No | 1
| DESCRIPTION |  | QTY
NO: |  | UNIT
| ITEM DESCRIPTION |  | QTY
VALVE SOCKET PN 12.5
1 | Valve Sockets 20mm PN 12.5 | PIECES | 1
2 | Valve Sockets 25mm PN 12.5 | PIECES | 1
3 | Valve Sockets 32mm PN 12.5 | PIECES | 1
4 | Valve Sockets 40mm PN 12.5 | PIECES | 1
5 | Valve Sockets 50mm PN 12.5 | PIECES | 1
6 | Valve Sockets 63mm PN 12.5 | PIECES | 1
7 | Valve Sockets 90mm PN 12.5 | PIECES | 1
8 | Valve Sockets 110mm PN 12.5 | PIECES | 1
9 | Valve Sockets 160mm PN 12.5 | PIECES | 1
10 | Valve Sockets 225mm PN 12.5 | PIECES | 1
11 | Valve Sockets Double 63mm PN 12.5 | PIECES | 1
12 | Valve Sockets Double 90mm PN 12.5 | PIECES | 1
13 | Valve Sockets Double 110mm PN 12.5 | PIECES | 1
14 | Valve Sockets Double160mm PN 12.5 | PIECES | 1
| ITEM DESCRIPTION |  | QTY
UPVC Bends
15 | UPVC Bends 90mm Diameter PN 12.5 | PIECES | 1
16 | UPVC Bends 110mm Diameter PN 12.5 | PIECES | 1
17 | UPVC Bends 160mm Diameter PN 12.5 | PIECES | 1
18 | UPVC Bends 225mm Diameter PN 12.5 | PIECES | 1
19 | UPVC Bends 280mm Diameter PN 12.5 | PIECES | 1
VALVE SOCKET PN 16 metro
20 | Valve Sockets 20mm PN 16 | PIECES | 1
21 | Valve Sockets 25mm PN 16 | PIECES | 1
22 | Valve Sockets 32mm PN 16 | PIECES | 1
23 | Valve Sockets 40mm PN 16 | PIECES | 1
24 | Valve Sockets 50mm PN 16 | PIECES | 1
25 | Valve Sockets 63mm PN 16 | PIECES | 1
25 | Valve socket 75mm | PIECES | 1
26 | Valve Sockets 90mm PN 16 | PIECES | 1
27 | Valve Sockets 110mm PN 16 | PIECES | 1
28 | Valve Sockets 160mm PN 16 | PIECES | 1
| ITEM DESCRIPTION |  | QTY
UPVC Sliding Sockets
29 | UPVC Sliding Sockets 90mm Diameter PN 12.5 | PIECES | 1
30 | UPVC Sliding Sockets 110mm Diameter PN 12.5 | PIECES | 1
31 | UPVC Sliding Sockets 160mm Diameter PN 12.5 | PIECES | 1
32 | UPVC Sliding Sockets 225mm Diameter PN 12.5 | PIECES | 1
33 | UPVC Sliding Sockets 280mm Diameter PN 12.5 | PIECES | 1
VALVE SOCKET PN 16 METRO
34 | Valve Sockets 1/2" PN 16 | PIECES | 1
35 | Valve Sockets 3/4" PN 16 | PIECES | 1
36 | Valve Sockets 1" PN 16 | PIECES | 1
37 | Valve Sockets 11/4" PN 16 | PIECES | 1
38 | Valve Sockets 1 1/2" PN 16 | PIECES | 1
39 | Valve Sockets 2" PN 16 | PIECES | 1
40 | Valve Sockets 21/2" PN 16 | PIECES | 1
41 | Valve Sockets 3" PN 16 | PIECES | 1
42 | Valve Sockets 4" PN 16 | PIECES | 1
43 | Valve Sockets 6" PN 16 |  | 1
| ITEM DESCRIPTION |  | QTY
DOUBLE SOCKET
44 | Doubles Sockets 63 mm PN 16 | PIECES | 1
45 | Doubles Sockets 90 mm PN 16 | PIECES | 1
46 | Doubles Sockets 110 mm PN 16 | PIECES | 1
47 | Doubles Sockets 50 mm PN 16 | PIECES | 1
48 | Doubles Sockets 40 mm PN 16 | PIECES | 1
49 | Doubles Sockets 32 mm PN 16 | PIECES | 1
50 | Doubles Sockets 25 mm PN 16 | PIECES | 1
51 | Doubles Sockets 160 mm PN 16 | PIECES | 1
UPVC Sliding Sockets
52 | UPVC Sliding Sockets 90mm Diameter PN 16 | PIECES | 1
53 | UPVC Sliding Sockets 110mm Diameter PN 16 | PIECES | 1
54 | UPVC Sliding Sockets 160mm Diameter PN 16 | PIECES | 1
55 | UPVC Sliding Sockets 50mm Diameter PN 16 | PIECES | 1
56 | UPVC Sliding Sockets 32mm Diameter PN 16 | PIECES | 1
| ITEM DESCRIPTION |  | QTY
UPVC BENDS PN 16
57 | UPVC Bends 20 mm Diameter PN 16 | PIECES | 1
58 | UPVC Bends 25 mm Diameter PN 16 | PIECES | 1
59 | UPVC Bends 32 mm Diameter PN 16 | PIECES | 1
60 | UPVC Bends 63 mm Diameter PN 16 | PIECES | 1
61 | UPVC Bends 75 0mm Diameter PN 16 | PIECES | 1
62 | UPVC Bends 90mm Diameter PN 16 | PIECES | 1
63 | UPVC Bends110mm Diameter PN 16 | PIECES | 1
64 | UPVC Bends 160mm Diameter PN 16 | PIECES | 1
65 | UPVC Bends 225mm Diameter PN 16 | PIECES | 1
66 | UPVC Bends 280mm Diameter PN 16 | PIECES | 1
67 | Ruber suntion gasket 4 mm | ROLLS | 1
68 | Ruber suntion gasket 6 mm | ROLLS | 1
69 | hacksaw blade sadfrex | PIECES | 1
70 | white plastic sleang plug 1/2" | PIECES | 1
71 | white plastic slealing plug 3/4" | PIECES | 1
72 | white plastic slealing plug 1" | PIECES | 1
73 | Sealing wire copper coated/plastic | ROLLS | 1
74 | sealing beads | KGS | 1
75 | solvent cement( tangit) tube 1000 g | PIECES | 1
76 | solvent cement( tangit) tin 500 g | PIECES | 1
77 | solvent cement( tangit) tin 250 g | PIECES | 1
78 | Solvent cement (tangitItin 100 g
| PIPE RUBBER RINGS UPVC | PIECES | 1
515 | Pipe Rubber Rings 400mm | PIECES | 1
516 | Pipe Rubber 90 mm PN 16 | PIECES | 1
517 | Pipe Rubber 110mm PN 16 | PIECES | 1
518 | Pipe Rubber 160 mm PN 16 | PIECES | 1
519 | Pipe Rubber 170 mm PN 16 | PIECES | 1
520 | Pipe Rubber 200mm PN 16 | PIECES | 1
521 | Pipe Rubber 220mm PN 16 | PIECES | 1
522 | Pipe Rubber 225mm PN 16 | PIECES | 1
523 | Pipe Rubber 250mm PN 16 | PIECES | 1
524 | Pipe Rubber 275mm PN 16 | PIECES | 1
526 | Pipe Rubber 315mm PN 16 | PIECES | 1
527 | Pipe Rubber 355 mm PN 16 | PIECES | 1

## hardware materials
SUPPLY AND DELIVERY OF HARDWARE MATERIALS AND TOOLS
TENDER No. EMBE/2026-2027/014
| Please Quote For the Following materials | UNIT | QTY | PRICES
1 | Y8 | No | 1
2 | Y10 | No | 1
3 | Y12 | No | 1
4 | R6 | No | 1
5 | R10 | No | 1
6 | R12 | No | 1
7 | R16 | No | 1
8 | Chain Link | roll | 1
9 | Wire mesh heavy gauge | pieces | 1
10 | Nails 2 inch | kg | 1
11 | Nails 3 inch | kg | 1
12 | Nails 4 inch | kg | 1
13 | Steel nails 2 inch | kg | 1
14 | Steel nails 1 inch | kg | 1
15 | Steel nails 3 inch | kg | 1
16 | Roofing Nails | kg | 1
17 | U Nails | kg | 1
18 | Barbed wire Ngombe | roll | 1
19 | Cement 50kg- Purchase Price for LPO | No | 1
| Cement 50kg- Purchase Price for CASH | No | 1
20 | Binding Wire | Rolls | 1
21 | Lime 50kg | No | 1
22 | Waterproof Cement 50kg | No | 1
23 | Jembe-crocodile original or equivalent | No | 1
24 | Fork Jembe- crocodile original or equivalent | No | 1
25 | Panga -365 only | No | 1
26 | Spade | No | 1
27 | Slashers | No | 1
28 | Pipewredge No 8 - Record | No | 1
29 | Pipewredge No 10- Record | No | 1
30 | Pipewredge No 12- Record | No | 1
31 | Pipewredge No 14- Record | No | 1
33 | Pipewredge No 18- Record | No | 1
34 | Pipewredge No 36- Record | No | 1
35 | Block Boards- Vineer 4x6 | No | 1
36 | Blackboard -Plain 4x6 | No | 1
37 | Plywood 4x6 | pcs | 1
38 | Sealing Bundles | pcs | 1
39 | Piano Hinges | pcs | 1
40 | Wood Binding | Feet | 1
41 | Pono Wood glue | kg | 1
42 | Thinner-standard | litters | 1
43 | White spirit | liters | 1
44 | Plastic Sewer Rods with Lift | No | 1
45 | Plain sheet 1/4'' thick 8' x 4' x 1/4' | No | 1
46 | Angle Line 1/4' thick 2' x 2' x 1/4' | No | 1
47 | Flat Bar 1/4 '' thick 1 1/2' x 1/4 ' | No | 1
48 | Bolts 3/4 x 3 | kg | 1
49 | Bolts 3 x 1/2 | kg | 1
50 | Wire Mesh-Heavy gauge | pcs | 1
51 | BRC Mesh-A142 | pc | 1
52 | Y20 steel rods | pcs | 1
53 | Paint White Emulson, 4 litres | No. | 1
54 | Paint soft white 4 litres | No. | 1
55 | Paint Red Oxide 1 litre | No | 1
56 | Brush 6 inch | pcs | 1
57 | Paint Bermuda Blue 1 litre | No | 1
58 | Thiner/turpentine 1 litre | No | 1
59 | Polyfilter paste 1 kg | No | 1
60 | 1x4 litres ,Galon Super gloss-B/Blue | No. | 1
61 | 1x4 litres Galon Super gloss-B/Black | No | 1
62 | 1x4 litres Galon Super gloss-White | No | 1
63 | Vinyl malt white | No | 1
64 | 1 gallon white spirit | No. | 1
65 | 6 Inch Brush 6 inch | No. | 1
66 | Vinyl Mart | No | 1
67 | Gabion boxes | PCS | 1
68 | Hoop Iron | Rolls | 1
69 | Chain Link | Rolls | 1
70 | Large/Aldrop ( for closing door) | No | 1
71 | Normal floats door | No | 1
72 | 6” hinges | pairs | 1
73 | 1 ½ “wood screws | pkt | 1
74 | Door locks | pcs | 1
75 | Gold color powder | spoons | 1
76 | Hoop Iron | Roll | 1
77 | Sanction Pipe 3x20 | No | 1
78 | Sanction Pipe | No | 1
79 | Cutting Disk | No | 1
80 | Grinding Disk | No | 1
81 | Door Lock-Union | No | 1
82 | Kitchen Sink | No | 1
83 | Bottle Trap | No | 1
84 | Tee with Plugs | No | 1
85 | N/P Pipe , One and Half | No | 1
86 | N/P Bends , One and Half | No | 1
87 | Wheel Barrow - datin or equivalent | No | 1
88 | Heavy duty sewerage man hole covers cast iron 24 x 18 | No | 1

## G.I PIPES
SUPPLY AND DELIVERY OF GI PIPES AND FITTINGS
TENDER No. Embe/2026-2027/03
| ITEM DESCRIPTION |  | UNIT | QTY | PRICES
1 | G.I. Pipes ½" Class D | PIECES | PIECES
2 | G.I. Pipes ¾ " Class D | PIECES | PIECES | 1
3 | G.I. Pipes 1 " Class D | PIECES | PIECES | 1
4 | G.I. Pipes 1¼" Class D | PIECES | PIECES | 1
5 | G.I. Pipes 1½ " Class D | PIECES | PIECES | 1
6 | G.I. Pipes 2" Class D | PIECES | PIECES | 1
7 | G.I. Pipes 2½ Class D | PIECES | PIECES | 1
8 | G.I. Pipes 3" Class D | PIECES | PIECES | 1
9 | G.I. Pipes 4" Class D | PIECES | PIECES | 1
10 | G.I. Pipes 6" Class D | PIECES | PIECES | 1
11 | G.I. Pipes 8" Class D | PIECES | PIECES | 1
12 | G.I. Pipes 10" Class D | PIECES | PIECES | 1
13 | Flanged g.i pipe 110 mm | PIECES | PIECES | 1
14 | Flanged g.i pipe 160 mm | PIECES | PIECES | 1
15 | Flanged g.i pipe 200 mm | PIECES | PIECES | 1
16 | Flanged g.i pipe 250 mm | PIECES | PIECES | 1
1
| DESCRIPTION | UNIT |  | 1
78 | Back nut G.I. ¾" (Brook Class) |  | PIECES | 1
79 | Back nut 1" |  | PIECES | 1
80 | G.I BEND CLASS B
81 | Bends G. I. ½" 90° |  | PIECES | 1
82 | Bends G.I.¾" 90° |  | PIECES | 1
83 | Bends G. I. 1" 90° |  | PIECES | 1
84 | Bends G. I. 11/4" 90° |  | PIECES | 1
85 | Bends G. I. 1½" 90° |  | PIECES | 1
86 | Bends G. I. 2½" 90° |  | PIECES | 1
87 | Bends G. I. 2" X 45° |  | PIECES | 1
88 | Bends G.I. 3" x 45° |  | PIECES | 1
89 | Bends G.I. 3" x 90° |  | PIECES | 1
90 | Bends G.I. 4"X 45° |  | PIECES | 1
91 | Bends G.I. 4" x 90° |  | PIECES | 1
92 | Bends G.I. 6" x 90° |  | PIECES | 1
93 | Bends G.I. 6" x 45° |  | PIECES | 1
REDUCING BUSH CLASS B
94 | Reducing bush 3/ 4"x 1/2" B Class |  | PIECES | 1
95 | Reducing bush 1"x 1/2" B Class |  | PIECES | 1
96 | Reducing bush 1" x 3/4 " B Class |  | PIECES | 1
97 | Reducing bush 1½" x ½ B Class |  | PIECES | 1
98 | Reducing bush 1½" x ¾ B Class |  | PIECES | 1
99 | Reducing bush 1½" x 1" B Class |  | PIECES | 1
100 | Reducing bush 1½" x1¼" B Class |  | PIECES | 1
101 | Reducing bush 2" x 1/2" B Class |  | PIECES | 1
102 | Reducing bush 2" x 3/4" B Class |  | PIECES | 1
103 | Reducing bush 2" x 1" B Class |  | PIECES | 1
104 | Reducing bush 2" x 11/2" B Class |  | PIECES | 1
105 | Reducing bush 3" x 1/2" B Class |  | PIECES | 1
106 | Reducing bush 3" x 3/4" B Class |  | PIECES | 1
107 | Reducing bush 3" x 1" B Class |  | PIECES | 1
| Reducing bush 3 x 1¼" B Class |  | PIECES | 1
108 | Reducing bush 3" x 11/2" B Class |  | PIECES | 1
109 | Reducing bush 3" x 2" B Class |  | PIECES | 1
110 | Reducing Bush 3"x2½" Class B |  | PIECES | 1
111 | Reducing bush 4" x ½ B Class |  | PIECES | 1
112 | Reducing bush 4" x ¾’ B Class |  | PIECES | 1
113 | Reducing bush 4" x 1 B Class |  | PIECES | 1
114 | Reducing bush 4" x 11/2 B Class |  | PIECES | 1
115 | Reducing bush 4 x 2” B Class |  | PIECES | 1
| Reducing bush 4 x 3” B Class |  | PIECES | 1
116 | Reducing bush 6" x 4" B Class |  | PIECES | 1
G.I END CAPS
117 | End Caps ½" B Class | PIECES |  | 1
118 | End Caps ¾" B Class | PIECES |  | 1
119 | End Caps 1" B Class | PIECES |  | 1
120 | End Caps 1½" B Class | PIECES |  | 1
121 | End Caps 2" B Class | PIECES |  | 1
122 | End Caps 2½" B Class | PIECES |  | 1
123 | End Caps G.I. 3" Class B | PIECES |  | 1
124 | End Caps 4" G.I. Class B | PIECES |  | 1
125 | End Caps 6" B Class | PIECES |  | 1
126 | End Caps 8" B Class | PIECES |  | 1
G.I Saddle Connector/ Saddle clump
127 | Saddle Connector G.I. 4"x 1" B Class | PIECES |  | 1
128 | Saddle Connec. G.I. 1½x½" Class B | PIECES |  | 1
129 | Saddle Connec. G.I. 2 x½" Class B | PIECES |  | 1
130 | Saddle Connec. G.I. 3 x1½" Class B | PIECES |  | 1
132 | Saddle Connec. G.I. 3 x1" Class B | PIECES |  | 1
133 | Saddle Connec. G.I. 3 x¾" Class B | PIECES |  | 1
134 | Saddle Connec. G.I. 2 x¾" Class B | PIECES |  | 1
135 | Saddle Connec. G.I. 6"x 1 Class B | PIECES |  | 1
136 | Saddle Connec G.I. 6"x2" Class B | PIECES |  | 1
137 | Saddle Connec G.I. 6"x½" Class B | PIECES |  | 1
138 | Saddle Connec G.I. 6"x1½" Class B | PIECES |  | 1
139 | Saddle Connec G.I. 6"x¾" Class B | PIECES |  | 1
140 | Saddle Connec G.I. 4"x2" Class B | PIECES |  | 1
141 | Saddle Connec G.I. 4"x¾" Class B | PIECES |  | 1
142 | Saddle Connector 6"x3" Class B | PIECES |  | 1
143 | Saddle connector 2"x1" Class B | PIECES |  | 1
144 | Saddle Connector 3"x2" Class B | PIECES |  | 1
145 | Saddle Connec G.I. 4"x½" Class | PIECES |  | 1
146 | Saddle Clamp G. I. 2" Class B | PIECES |  | 1
147 | Saddle Clamp G.I. 6" Class B | PIECES |  | 1
148 | Saddle Clamp G.I. 8" Class B | PIECES |  | 1
149 | Saddle Clamp G. I.11/2 X 1/2 Class B | PIECES |  | 1
150 | Saddle Clamp G. I. 11/2 X 3/4 Class B | PIECES |  | 1
151 | Saddle Clamp G. I. 11/2 X 3/4 Class B | PIECES |  | 1
152 | Saddle Clamp G. I. 11/2 X 1 Class B | PIECES |  | 1
153 | Saddle Clamp G. I. 2 X 1/2 Class B | PIECES |  | 1
154 | Saddle Clamp G. I. 2 X 3/4 Class B | PIECES |  | 1
155 | Saddle Clamp G. I. 2 X 1 Class B | PIECES |  | 1
156 | Saddle Clamp G. I. 2 X 11/2 Class B | PIECES |  | 1
157 | Saddle Clamp G. I. 3X 1/2 Class B | PIECES |  | 1
158 | Saddle Clamp G. I. 3 X 3/4 Class B | PIECES |  | 1
159 | Saddle Clamp G. I. 3 X 1 Class B | PIECES |  | 1
160 | Saddle Clamp G. I. 3 X 11/2 Class B | PIECES |  | 1
161 | Saddle Clamp G. I. 3 X 2 Class B | PIECES |  | 1
162 | Saddle Clamp G. I. 4 X 1/2 Class B | PIECES |  | 1
163 | Saddle Clamp G. I. 4 X 3/4 Class B | PIECES |  | 1
164 | Saddle Clamp G. I. 4 X 11/2 Class B | PIECES |  | 1
165 | Saddle Clamp G. I. 4 X 2 Class B | PIECES |  | 1
166 | Saddle Clamp G. I. 4 X 3 Class B | PIECES |  | 1
167 | Saddle Clamp G. I. 6 X 1/2Class B | PIECES |  | 1
168 | Saddle Clamp G. I. 6 X 3/4 Class B | PIECES |  | 1
169 | Saddle Clamp G. I. 6 X 1 Class B | PIECES |  | 1
170 | Saddle Clamp G. I. 6 X 11/2 Class B | PIECES |  | 1
171 | Saddle Clamp G. I. 6 X 2 Class B | PIECES |  | 1
172 | Saddle Clamp G. I. 6 X 3 Class B | PIECES |  | 1
173 | Saddle Clamp G. I. 6 X 4 Class B | PIECES |  | 1
174 | Saddle Clamp G. I. 8 X 1/2 Class B | PIECES |  | 1
175 | Saddle Clamp G. I. 8 X 3/4 Class B | PIECES |  | 1
176 | Saddle Clamp G. I. 8 X 1 Class B | PIECES |  | 1
177 | Saddle Clamp G. I. 8 X 11/2 Class B | PIECES |  | 1
178 | Saddle Clamp G. I. 8 X 2 Class B | PIECES |  | 1
179 | Saddle Clamp G. I. 8 X 3 Class B | PIECES |  | 1
180 | Saddle Clamp G. I. 8 X 4 Class B | PIECES |  | 1
181 | Saddle Clamp G. I. 8 X 6 Class B | PIECES |  | 1
182 | Saddle Clamp G.I. 10" Class B | PIECES |  | 1
183 | G.I Saddle clamp ¾ x 1/2 Class B | PIECES |  | 1
184 | G.I Saddle clamp 11/2 x 1/2 Class B | PIECES |  | 1
184 | G.I Saddle clamp 11/2 x 3/4 Class B | PIECES |  | 1
185 | G.I Saddle clamp 11/2 x 1" Class B | PIECES |  | 1
186 | Saddle Clamp G. I. 1 X 3/4" Class B | PIECES |  | 1
187 | Saddle Clamp G. I. 1 X 1/2" Class B | PIECES |  | 1
188 | Saddle Clamp G. I. 2 X 1/2" Class B | PIECES |  | 1
189 | Saddle Clamp G. I. 2 X 34" Class B | PIECES |  | 1
190 | Saddle Clamp G. I. 2 X 1" Class B | PIECES |  | 1
191 | Saddle Clamp G. I. 11/4 X1/2" Class B | PIECES |  | 1
192 | Saddle Clamp G. I. 11/4 X3/4" Class B | PIECES |  | 1
193 | Saddle Clamp G. I. 11/4 X 1" Class B | PIECES |  | 1
194 | Saddle Clamp G. I. 11/2X11/4" Class B | PIECES |  | 1
195 | Saddle Clamp G. I. 3 X 11/4" Class B | PIECES |  | 1
196 | Saddle Clamp G. I. 2 X 11/4" Class B | PIECES |  | 1
G.I ELBOW
197 | Elbow ½ Class B | PIECES |  | 1
198 | Elbow ¾ Class B | PIECES |  | 1
199 | Elbow 1 Class B | PIECES |  | 1
200 | Elbow 11/4" Class B | PIECES |  | 1
201 | Elbow 1½" Class B | PIECES |  | 1
202 | Elbow 2" Class B | PIECES |  | 1
203 | Elbow 21/2" Class B | PIECES |  | 1
204 | Elbow 3" Class B | PIECES |  | 1
205 | Elbow 4" Class B | PIECES |  | 1
206 | Elbow 6" Class B | PIECES |  | 1
207 | Elbow 8" Class B | PIECES |  | 1
PLAIN FLANGES
208 | Flanges G.I. 1½ Class B | PIECES |  | 1
209 | Flanges G. I. 2" Class B | PIECES |  | 1
230 | Flanges G. I. 3" Class B | PIECES |  | 1
231 | Flanges G. I. 4" Class B | PIECES |  | 1
232 | Flanges G. I. 6" Class B | PIECES |  | 1
233 | Flanges G. I. 8" Class B | PIECES |  | 1
234 | Flanges G. I.10 Class B | PIECES |  | 1
235 | Flanges G.I. 12" Class B | PIECES |  | 1
236 | Detachable joints 2" B.S.S. Class B | PIECES |  | 1
237 | Detachable joints 3" " " | PIECES |  | 1
238 | Detachable joints 4" " " | PIECES |  | 1
239 | Detachable joints 6" " " | PIECES |  | 1
240 | Detachable joints 8" " " | PIECES |  | 1
241 | Detachable joints 10" " " | PIECES |  | 1
242 | Detachable joints 12" " " | PIECES |  | 1
| V.J COUPLING |  |  | QTY
243 | V.J. Coupling for 11/2" Nom Ø pipe | PIECES |  | 1
244 | V.J. Coupling for 2" Nom Ø pipe | PIECES |  | 1
245 | V.J. Coupling for 3" Nom Ø pipe | PIECES |  | 1
246 | V.J. Coupling for 4" Nom Ø pipe | PIECES |  | 1
247 | V.J. Coupling for 6" Nom Ø pipe | PIECES |  | 1
248 | V.J. Coupling for 8" Nom Ø pipe | PIECES |  | 1
249 | V.J. Coupling for 9" Nom Ø pipe | PIECES |  | 1
250 | V.J. Coupling for 10 Nom Ø pipe | PIECES |  | 1
251 | V.J. Coupling for 12" Nom Ø pipe | PIECES |  | 1
252 | V.J. Coupling for 90mm Ø PVC pipe | PIECES |  | 1
253 | V.J. Coupling for 110mm Ø PVC pipe | PIECES |  | 1
254 | V.J. Coupling for 160mm Ø PVC pipe | PIECES |  | 1
255 | V.J. Coupling for 170mm Ø PVC pipe | PIECES |  | 1
256 | V.J. Coupling for 200mm Ø PVC pipe | PIECES |  | 1
257 | V.J. Coupling for 220mm Ø PVC pipe | PIECES |  | 1
258 | V.J. Coupling for 225mm Ø PVC pipe | PIECES |  | 1
259 | V.J. Coupling for 280mm Ø PVC pipe | PIECES |  | 1
260 | V.J. Coupling for 315mm Ø PVC pipe | PIECES |  | 1
261 | V.J. Coupling for 355mm Ø PVC pipe | PIECES |  | 1
262 | V.J. Coupling for 400mm Ø PVC pipe | PIECES |  | 1
FLANGE ADAPTOR G.I
263 | Flange Adaptor for 11/2" PVC pipe | PIECES |  | 1
264 | Flange Adaptor for 2" PVC pipe | PIECES |  | 1
265 | Flange Adaptor for 90mm Ø PVC pipe | PIECES |  | 1
266 | Flange Adaptor for 110mm Ø PVC pipe | PIECES |  | 1
267 | Flange Adaptor for 160mm Ø PVC pipe | PIECES |  | 1
268 | Flange Adaptor for 170mm Ø PVC pipe | PIECES |  | 1
269 | Flange Adaptor for 200mm Ø PVC pipe | PIECES |  | 1
270 | Flange Adaptor for 220mm Ø PVC pipe | PIECES |  | 1
271 | Flange Adaptor for 225mm Ø PVC pipe | PIECES |  | 1
272 | Flange Adaptor for 280mm Ø PVC pipe | PIECES |  | 1
273 | Flange Adaptor for 315mm Ø PVC pipe | PIECES |  | 1
274 | Flange Adaptor for 355mm Ø PVC pipe | PIECES |  | 1
G.I HEXAGONAL NIPPLES ORIGINAL
275 | Nipples ½" Class B | PIECES |  | 1
276 | Nipples ¾" Class B | PIECES |  | 1
277 | Nipples 1" Class B | PIECES |  | 1
278 | Nipples 1¼" Class B | PIECES |  | 1
279 | Nipples 1½" Class B | PIECES |  | 1
280 | Nipples 2" Class B | PIECES |  | 1
281 | Nipples 21/2" Class B | PIECES |  | 1
282 | Nipples 3" Class B | PIECES |  | 1
283 | Nipples 4" Class B | PIECES |  | 1
284 | Nipples 6" Class B | PIECES |  | 1
285 | Nipples 8" Class B | PIECES |  | 1
| G.I PLUG |  |  | QTY
286 | Plugs ½ " Class B | PIECES |  | 1
287 | Plugs ¾ " Class B | PIECES |  | 1
288 | Plugs 1" Class B | PIECES |  | 1
289 | Plugs 1¼" Class B | PIECES |  | 1
290 | Plugs 1½ " Class B | PIECES |  | 1
291 | Plugs 2" Class B | PIECES |  | 1
292 | Plugs 21/2" Class B | PIECES |  | 1
293 | Plugs 3" Class B | PIECES |  | 1
294 | Plugs 4 " Class B | PIECES |  | 1
295 | Plugs 6" Class B | PIECES |  | 1
296 | Shower Roses ½" | PIECES |  | 1
297 | Shower Roses ¾" | PIECES |  | 1
298 | Shower Roses 1" | PIECES |  | 1
| G.I SOCKET CASS B |  |  | QTY
299 | G.I. Sockets ½" Class B | PIECES |  | 1
300 | G.I. Sockets ¾" Class B | PIECES |  | 1
301 | G.I. Sockets 1" Class B | PIECES |  | 1
302 | G.I. Sockets 1¼" Class B | PIECES |  | 1
303 | G.I. Sockets 1½" Class B | PIECES |  | 1
304 | G.I. Sockets 2" Class B | PIECES |  | 1
305 | G.I. Socket 2½" Class B | PIECES |  | 1
306 | G.I. Sockets 3" Class B | PIECES |  | 1
307 | G.I. Sockets 4" Class B | PIECES |  | 1
308 | G.I. Sockets 6" Class B | PIECES |  | 1
309 | G.I. Sockets 8" Class B | PIECES |  | 1
310 | UPVC Adaptors 8" Class D | PIECES |  | 1
311 | Steel Adaptors 8" Class C Heavy Duty | PIECES |  | 1
312 | Steel Adaptors 10" Class C Heavy Duty | PIECES |  | 1
313 | Steel Adaptors 12" Class C Heavy Duty | PIECES |  | 1
REDUCING SOCKET
314 | Reducing socket 3/ 4"x 1/2" B Class | PIECES |  | 1
315 | Reducing socket 1"x 1/2" B Class | PIECES |  | 1
316 | Reducing socket 1" x 3/4 " B Class | PIECES |  | 1
317 | Reducing socket 1½" x ½ B Class | PIECES |  | 1
318 | Reducing socket 1½" x ¾ B Class | PIECES |  | 1
319 | Reducing socket 1½" x 1" B Class | PIECES |  | 1
320 | Reducing socket 1½" x1¼" B Class | PIECES |  | 1
321 | Reducing socket 2" x 1/2" B Class | PIECES |  | 1
322 | Reducing socket 2" x 3/4" B Class | PIECES |  | 1
323 | Reducing socket 2" x 1" B Class | PIECES |  | 1
324 | Reducing socket 2" x 11/2" B Class | PIECES |  | 1
325 | Reducing socket 3" x 1/2" B Class | PIECES |  | 1
326 | Reducing socket 3" x 3/4" B Class | PIECES |  | 1
327 | Reducing socket 3" x 1" B Class | PIECES |  | 1
328 | Reducing socket 3" x 11/2" B Class | PIECES |  | 1
329 | Reducing socket 3" x 2" B Class | PIECES |  | 1
330 | Reducing socket 3"x2½" Class B | PIECES |  | 1
331 | Reducing socket 4" x 1 B Class | PIECES |  | 1
332 | Reducing socket 4" x 2 B Class | PIECES |  | 1
333 | Reducing socket 4" x 3 B Class | PIECES |  | 1
334 | Reducing socket 4" x 11/2 B Class | PIECES |  | 1
335 | Reducing socket 3 x 1¼" B Class | PIECES |  | 1
336 | Reducing socket 6" x 4" B Class | PIECES |  | 1
337 | Reducing Socket 6" x 3" " " " " | PIECES |  | 1
338 | Reducing Socket 6" x 4" " " " " | PIECES |  | 1
339 | Reducing Socket 6" x 2" " " " " | PIECES |  | 1
340 | Reducing Socket 6" x 2" " " " " | PIECES |  | 1
341 | Reducing Socket 11/4" x 1/2"" " " " " | PIECES |  | 1
342 | Reducing Socket 11/4" x 3/4" " " " " | PIECES |  | 1
343 | Reducing Socket 11/4" x 14" " " " " | PIECES |  | 1
| EQUAL TEE CLASS B |  |  | QTY
344 | G.I. Tee Equal ½" " " | PIECES |  | 1
345 | G.I. Tee Equal ¾" " " | PIECES |  | 1
346 | G.I. Tee Equal 1" " " | PIECES |  | 1
347 | G.I. Tee Equal 1¼" " " | PIECES |  | 1
348 | G.I. Tee Equal 1½" " " | PIECES |  | 1
349 | G.I. Tee Equal 2" " " | PIECES |  | 1
350 | G.I. Tee Equal 21/2" " " | PIECES |  | 1
351 | G.I. Tee Equal 3" " " | PIECES |  | 1
352 | GI Tee Equal 4" " " | PIECES |  | 1
353 | G.I. Tee Equal CI 4" " " | PIECES |  | 1
354 | G.I. Tee Equal 6" " " | PIECES |  | 1
REDUCING TEE
355 | Tee Red 3/4" x 1/2" Class B | PIECES |  | 1
356 | Tee Red 1" x 1/2" " " | PIECES |  | 1
357 | Tee Red 1"x 3/4" " " | PIECES |  | 1
358 | Tee Red 11/2"x ½" " " | PIECES |  | 1
359 | Tee Red 11/2"x 3/4" " " | PIECES |  | 1
360 | Tee Red 11/2"xX1" " " | PIECES |  | 1
361 | Tee Red 2 X 1/2 " " | PIECES |  | 1
362 | Tee Red 2" x 3/4" " " | PIECES |  | 1
363 | Tee Red 2" x 1" " " | PIECES |  | 1
364 | Tee Red 2" x 11/2" " " | PIECES |  | 1
365 | Tee Red 3" x 1/2" " " | PIECES |  | 1
366 | Tee Red 3" x 3/4" " " | PIECES |  | 1
367 | Tee Red 3" x 1" " " | PIECES |  | 1
368 | Tee Red 3" x 11/2" " " | PIECES |  | 1
369 | Tee Red 3" x 2" " " | PIECES |  | 1
370 | Tee Red 4" x 1/2" " " | PIECES |  | 1
371 | Tee Red 4" x 3/4" " " | PIECES |  | 1
372 | Tee Red 4" x 1" " " | PIECES |  | 1
373 | Tee Red 4" x 11/2" " " | PIECES |  | 1
374 | Tee Red 4" x 2" " " | PIECES |  | 1
375 | Tee Red 4" x 3" " " | PIECES |  | 1
376 | Tee Red 6 X 1/2 " " | PIECES |  | 1
377 | Tee Red 6 X 3/4 " " | PIECES |  | 1
378 | Tee Red 6 X 1 " " | PIECES |  | 1
379 | Tee Red 6 X 11/2 " " | PIECES |  | 1
380 | Tee Red 6 X 2 " " | PIECES |  | 1
381 | Tee Red 6 X 3 " " | PIECES |  | 1
382 | Tee Red 6 X 4 " " | PIECES |  | 1
383 | Tee Red 114/" X1/2" " " | PIECES |  | 1
384 | Tee Red 11/4 X 3/4 " " | PIECES |  | 1
385 | Tee Red 11/4" X 1 " " | PIECES |  | 1
386 | Tee Red 90mm x 32mm P.V.C. " " | PIECES |  | 1
387 | Tee Cross ½" " " | PIECES |  | 1
389 | Tee Cross ¾" " " | PIECES |  | 1
390 | Tee Cross 1" " " | PIECES |  | 1
GI Union CLASS B
391 | GI Union ½" " " | PIECES |  | 1
392 | G.I. Union ¾" " " | PIECES |  | 1
393 | G.I. Union 1" " " | PIECES |  | 1
394 | G.I. Union 1¼ " " " | PIECES |  | 1
395 | G.I. Union 1½" " " | PIECES |  | 1
396 | G.I. Union 2" " " | PIECES |  | 1
397 | G.I. Union 3" " " | PIECES |  | 1
398 | G.I. Union 4" " " | PIECES |  | 1
399 | G.I. Union 6" " " | PIECES |  | 1
400 | G.I. Union 8" " " | PIECES |  | 1
401 | Air valve Single Orifice 1" Class C B.S.S. Heavy Duty | PIECES |  | 1
402 | Airv valve Single Orifice 11/2" Class C B.S.S. Heavy Duty | PIECES |  | 1
403 | Air valve Single Orifice 2" Class C B.S.S. Heavy Duty | PIECES |  | 1
404 | Air valve Single Orifice 3" Class C B.S.S. Heavy Duty | PIECES |  | 1
405 | Airv valve Double Orifice 1" Class C B.S.S. Heavy Duty | PIECES |  | 1
406 | Airv valve Double Orifice 11/2" Class C B.S.S. Heavy Duty | PIECES |  | 1
407 | Air valve Double Orifice 2" Class C B.S.S. Heavy Duty | PIECES |  | 1
408 | Air valve Double Orifice 3" Class C B.S.S. Heavy Duty | PIECES |  | 1
GATE VALVE PEGLER ORIGINAL
409 | Gate valve pegler original ½" | PIECES |  | 1
410 | Gate valve pegler original ¾" | PIECES |  | 1
411 | Gate valve pegler original 1" | PIECES |  | 1
412 | Gate valve pegler original 1½" | PIECES |  | 1
413 | Gate valve pegler original 2" | PIECES |  | 1
414 | Gate valve pegler original 2½" | PIECES |  | 1
415 | Gate valves pegler original 3" | PIECES |  | 1
416 | Gate valves pegler original 4" | PIECES |  | 1
417 | Gate valves pegler original 6" | PIECES |  | 1
418 | bip tap pegler original 1/2" | PIECES |  | 1
419 | bip tap pegler original 3/4" | PIECES |  | 1
420 | bip tap pegler original 1" | PIECES |  | 1
NEW SLUICE VALVES (B.S.S)
421 | Sluice valve 11/2" | PIECES |  | 1
422 | Sluice valve 2" | PIECES |  | 1
423 | Sluice valve 3" | PIECES |  | 1
424 | Sluice valve 4" | PIECES |  | 1
425 | Sluice valve 6" | PIECES |  | 1
426 | Sluice valve 8" | PIECES |  | 1
427 | Sluice valve 9" | PIECES |  | 1
428 | Sluice valve 12" | PIECES |  | 1
429 | New Sluice Valve 10'' (280mm) | PIECES |  | 1
430 | Ball valves ½" | PIECES |  | 1
431 | Ball valves ¾" | PIECES |  | 1
432 | Ball valves 1" | PIECES |  | 1
433 | Ball valves 11/2" | PIECES |  | 1
434 | Ball valves 2" | PIECES |  | 1
435 | Ball valves 3'' | PIECES |  | 1
436 | Ball valves 4'' | PIECES |  | 1
1
1
437 | Foot valve 2" (B.S.S) | PIECES |  | 1
438 | Foot valve 3" (B.S.S) | PIECES |  | 1
439 | Foot valve 4" - Cast Iron | PIECES |  | 1
440 | Foot valve 6" - Cast Iron | PIECES |  | 1
441 | Foot valve - 4" Aluminium | PIECES |  | 1
442 | Foot valve - 6" Aluminium | PIECES |  | 1
443 | Foot valve - 8" Aluminium | PIECES |  | 1
444 | Non return valve ½" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
445 | Non return valve ¾" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
446 | Non return valve 1" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
447 | Non return valve11/2" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
448 | Non return valve 2" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
449 | Non return valve 3" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
450 | Non return valve 4" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
451 | Non return valve 6" (B.S.S.) Class C Heavy Duty | PIECES |  | 1
452 | Vee belts A110 | PIECES |  | 1
453 | Vee belts A55 | PIECES |  | 1
454 | Vee belts B106 | PIECES |  | 1
455 | Vee belts B61 | PIECES |  | 1
456 | Rubber connector | PIECES |  | 1
457 | Tower Bolt | PIECES |  | 1
458 | Pillar Trans 1½ Class B | PIECES |  | 1
459 | Stop Corks ½ " - peglar | PIECES |  | 1
460 | Stop Corks ¾" - peglar | PIECES |  | 1
461 | Stop Corks 1" - peglar | PIECES |  | 1
462 | Stop Corks 1½" Peglar | PIECES |  | 1
463 | Stop Corks 2" - peglar | PIECES |  | 1
PRESSURE REDUCING VALVE
Material ducfile iron
Diaphram –Nylon reinforced buna-N
Rubber
Pressure Adjustment ranges from 1 bar – 7 bars
464 | PRV 6" | PIECES |  | 1
465 | PRV 4" | PIECES |  | 1
466 | PRV 3" | PIECES |  | 1
467 | PRV 2" | PIECES |  | 1
468 | PRV 1½" | PIECES |  | 1
469 | PRV 1" | PIECES |  | 1
470 | PRV ¾" | PIECES |  | 1
471 | PRV ½ " | PIECES |  | 1
472 | Double Threaded GI Stand Pipes ½" -1½ Ft Long | PIECES |  | 1
473 | Double Threaded GI Stand Pipes ½" -2 Ft Long | PIECES |  | 1
474 | Double Threaded GI Stand Pipes ½" -3 Ft Long | PIECES |  | 1
475 | Double Threaded GI Stand Pipes ½" -31/2 Ft Long | PIECES |  | 1
476 | Double Threaded GI Stand Pipes 3/4" -11/2 Ft Long | PIECES |  | 1
477 | Stepdown VJ Copupling 118mm - 110mm | PIECES |  | 1
478 | Stepdown VJ coupling 170mm - 160mm | PIECES |  | 1
479 | Stepdown VJ coupling 220mm - 200mm | PIECES |  | 1
480 | Stepdown VJ coupling 170mm - 160mm | PIECES |  | 1
481 | Stepdown VJ coupling 250mm - 225mm | PIECES |  | 1
482 | Pressure gauges - 0- 10 bars | PIECES |  | 1
483 | Pressure gauges - 0- 16 bars | PIECES |  | 1
484 | Pressure gauges - 0- 20 bars | PIECES |  | 1
485 | Pressure gauges - 0- 25 bars | PIECES |  | 1
1
486 | Flanges 3" steel | PIECES |  | 1
487 | Flanges 4" steel | PIECES |  | 1
488 | Flanges 6" steel | PIECES |  | 1
489 | Flanges 8" steel | PIECES |  | 1
490 | Flanges 10" steel | PIECES |  | 1
491 | Flanges 12" steel | PIECES |  | 1
BOLTS AND NUTS
492 | Bolts and nuts 3 x 3/4 half thread | KGS |  | 1
493 | Bolts and nuts 1/2 x 2 half thread | KGS |  | 1
494 | Bolts and nuts 1/2 x 6 half thread | KGS |  | 1
495 | Bolts and nuts 1 x 3 half thread | KGS |  | 1
496 | Bolts and nuts 7/8 x 5 half thread | KGS |  | 1
497 | Bolts and nuts 3 x 3/8 full thread | KGS |  | 1
498 | Bolts and nuts 3 x 3/4 full thread | KGS |  | 1
499 | Bolts and nuts 1/2 x 2 full thread | KGS |  | 1
500 | Bolts and nuts 1/2 x 3 full thread | KGS |  | 1
501 | Bolts and nuts 1/2 x 6 full thread | KGS |  | 1
502 | Bolts and nuts 1 x 3 full thread | KGS |  | 1
503 | Bolts and nuts 7/8 x 5 full thread | KGS |  | 1
V.J COUPLING RUBBERINGS
504 | 90 MM | PIECES |  | 1
505 | 110 MM | PIECES |  | 1
506 | 160 MM | PIECES |  | 1
507 | 170 MM | PIECES |  | 1
508 | 200 MM | PIECES |  | 1
509 | 220 MM | PIECES |  | 1
510 | 250 MM | PIECES |  | 1
511 | 280 MM | PIECES |  | 1
512 | 315 MM | PIECES |  | 1
513 | 355 MM | PIECES |  | 1
514 | 400 MM | PIECES |  | 1
| PIPE RUBBER RINGS | PIECES |  | 1
515 | Pipe Rubber Rings 400mm | PIECES |  | 1
516 | Pipe Rubber 90 mm PN 16 | PIECES |  | 1
517 | Pipe Rubber 110mm PN 16 | PIECES |  | 1
518 | Pipe Rubber 160 mm PN 16 | PIECES |  | 1
519 | Pipe Rubber 170 mm PN 16 | PIECES |  | 1
520 | Pipe Rubber 200mm PN 16 | PIECES |  | 1
521 | Pipe Rubber 220mm PN 16 | PIECES |  | 1
522 | Pipe Rubber 225mm PN 16 | PIECES |  | 1
523 | Pipe Rubber 250mm PN 16 | PIECES |  | 1
524 | Pipe Rubber 250mm PN 16 | PIECES |  | 1
526 | Pipe Rubber 275mm PN 16 | PIECES |  | 1
527 | Pipe Rubber 315 mm PN 16 | PIECES |  | 1
528 | FLANGED G.I BEND 160 MM 90° | PIECES |  | 1
529 | FLANGED G.I TEE 90 MM | PIECES |  | 1
530 | FLANGED G.I TEE 90 MM 50 MM | PIECES |  | 1
531 | FLANGED G.I TEE 90 MM 25 MM | PIECES |  | 1
532 | FLANGED G.I TEE 160 X 160 | PIECES |  | 1
533 | FLANGED G.I bend 160mm 45° | PIECES |  | 1
534 | G.I FLANGED TAPER 160MM X 110 | PIECES |  | 1
535 | G.I FLANGED TAPER 160MM X 90 | PIECES |  | 1
536 | G.I FLANGED TAPER 90 MM X 50 MM | PIECES |  | 1
537 | GI SADDLE CLAMP 6X2 | PIECES |  | 1
538 | REDUCING SOCKET 4 X 1/2 | PIECES |  | 1
539 | REDUCING SOCKET 4 X ¾” | PIECES |  | 1
NO | NAME | SIGN | Id no.
1
2
3
4
5
6
7
8
9

## Fuel
SUPPLY AND DELIVERY OF FUEL, OIL AND LUBRICANTS
TENDER No. EMBE/2026-2027/015
| ITEM DESCRIPTION | UNIT | QTY
1 | Petrol | Litres | 1
2 | Diesel | Litres | 1
3 | Diesel Oil- Rimula cc 40 or Equivalent | Litres | 1
4 | Petrol Oil cc 140 | Litres | 1
5 | 2 T Oil | Litres | 1
6 | Hydraulic Oil | Litres | 1

## Security
PROVISION OF SECURITY SERVICES
TENDER REF NO: EMBE 2026 2027/07
ITEM | Day duty services | Period | QTY | PRICE PER QUARD
Item | Area to be guarded | Time | Nr.
1 | Company's Town Head Office (Siakago) | Day | 1
2 | Company's Town Head Office (Siakago) | Night | 1
3 | Ena Treatment works | Night | 1

## Computer Hardware
SUPPLY AND DELIVERY OF COMPUTER HARDWARES
TENDER No. EMBE/2026-2027/009
(RESERVED FOR THE YOUTH, WOMEN AND PERSONS WITH DISABILITY)
| ITEM DESCRIPTION | QTY | PRICES
1 | Flash sticks (32 GB Sony black or equivalent) | 1
2 | Mouses (for replacement) | 1
3 | Keyboards (for replacement) | 1
4 | Samsung External HDD 4Terra Byte | 1
5 | Seagate Internal HDD SATA 4 TB | 1
6 | DDR3 RAM 4GB | 1
7 | ESET NOD 32 Smart Antivirus for Workstations | 1
8 | ESET NOD 32 Smart Antivirus Server Edition | 1
9 | Internal Desktop Power Supply unit | 1
10 | Laptop Adoptors | 1
11 | Laptop Batteries | 1
12 | Lenovo RAM 64 GB | 1
13 | Lenovo Processor (Intex Xeon E5 2.5 16 Core) | 1
14 | UTP CAT 6 Cable Roll | 1
15 | Uninterrupted Power Supply (UPS) 1KVA | 1
16 | Uninterrupted Power Supply (UPS) 2KVA | 1
17 | Printer (3 in 1) Epson L1800 or Equivalent) | 1
18 | CCTV camera full package installation, atleast 6 dome ip cameras, two TB storage | 1
| DESCRIPTION | 1
19 | Cisco Switch 2960 catalyst | 1
20 | Rack Statation (RDX Quick Station Ethernet Enabled) SAN | 1
| Softwares | 1
21 | Windows 10 Licenses | 1
22 | Windows OFFICE 2019 Licenses | 1
23 | Windows Server 2016 Datacenter(Capital) | 1
| Printer and copier toners and cartridges | 1
24 | Ink Epson L1800 (L1800 Black ) | 1
25 | Ink Epson L1800 (L1800 Blue ) | 1
26 | Ink Epson L1800 (L1800 red ) | 1
27 | Ink Epson L1800 (L1800 Yellow ) | 1
28 | Ink Epson L1800 (L1800 Margeta ) | 1
29 | Ink Epson L1800 (L1800 Light Margeta ) | 1
30 | Tonner 85A (HP Lasejet Pro M 1132 MFP) | 1
31 | Cyber-shot DSC Video Camera | 1
32 | DESKTOP Computer i7 Series( HP/DELL) or equivalent | 1
33 | LapTop core i7 1TB 8GB RAM | 1
34 | Photocopier 2501 MP or equivalent | 1
35 | Projector Sony/Benq/epson 5000 lumens or equivalent | 1
36 | Projector Screen Medium | 1

## HDPE PIPES
SUPPLY AND DELIVERY OF HDPE PIPES, PPR PIPES AND FITTINGS
TENDER No. Embe/2026-2027/02
TENDER FOR THE SUPPLY OF HDPE, PPR PIPES AND FITTINGS: NO. Embe 2026/2027/02
HDPE Pipes PN 10 (KSISO 4427 (1-5):2007)
1 | HDPE Pipes 20mm Class 5 | METERS | 50
2 | HDPE Pipes 25mm Class 5 | METERS | 50
3 | HDPE Pipes 32mm Class 5 | METERS | 50
4 | HDPE Pipes 40mm Class 5 | METERS | 50
5 | HDPE Pipes 50mm Class 5 | METERS | 50
6 | HDPE Pipes 63mm Class 5 | METERS | 50
7 | HDPE Pipes 75mm Class 5 | METERS | 50
8 | HDPE Pipes 90mm Class 5 | METERS | 50
9 | HDPE Pipes 110mm Class 5 | METERS | 50
| ITEM DESCRIPTION |  | QTY
HDPE Pipes PN 16 (KS ISO 4427 (1-5):2007)
11 | HDPE Pipes 20mm Class 6 | METERS | 50
12 | HDPE Pipes 25mm Class 6 | METERS | 50
13 | HDPE Pipes 32mm Class 6 | METERS | 50
14 | HDPE Pipes 40mm Class 6 | METERS | 50
15 | HDPE Pipes 50mm Class 6 | METERS | 50
16 | HDPE Pipes 63mm Class 6 | METERS | 50
17 | HDPE Pipes 75mm Class 6 | METERS | 50
18 | HDPE Pipes 90mm Class 6 | METERS | 50
19 | HDPE Pipes 110mm Class 6 | METERS | 50
HDPE Pipes PN 20 (KS ISO 4427 (1-5):2007)
| Description | Units | Qty
21 | HDPE Pipes 20mm | METERS | 50
22 | HDPE Pipes 25mm | METERS | 50
23 | HDPE Pipes 32mm | METERS | 50
24 | HDPE Pipes 40mm | METERS | 50
25 | HDPE Pipes 50mm | METERS | 50
26 | HDPE Pipes 63mm | METERS | 50
27 | HDPE Pipes 75mm | METERS | 50
28 | HDPE Pipes 90mm | METERS | 50
29 | HDPE Pipes 110mm | METERS | 50
TEE
31 | HDPE equal Tee 20mm | pieces | 1
32 | HDPE equal Tee 25mm | pieces | 1
33 | HDPE equal Tee 32mm | pieces | 1
34 | HDPE equal Tee 40mm | pieces | 1
35 | HDPE equal Tee 50mm | pieces | 1
36 | HDPE equal Tee 63mm | pieces | 1
37 | HDPE equal Tee 75mm | pieces | 1
38 | HDPE equal Tee 90mm | pieces | 1
39 | HDPE equal Tee 110mm | pieces | 1
40 | HDPE equal Tee 160mm | pieces | 1
| HDPE ELBOW | Units | Qty
| HDPE Elbow 20mm | pieces | 1
41 | HDPE Elbow 25mm | pieces | 1
42 | HDPE Elbow 32mm | pieces | 1
43 | HDPE Elbow 40mm | pieces | 1
44 | HDPE Elbow 50mm | pieces | 1
45 | HDPE Elbow 63mm | pieces | 1
46 | HDPE Elbow 75mm | pieces | 1
47 | HDPE Elbow 90mm | pieces | 1
48 | HDPE Elbow 110mm | pieces | 1
49 | HDPE Elbow 160mm | pieces | 1
| Male/Femal thread on outlet. | Units | Qty
| HDPE Male Adaptor 20mm | pieces | 1
50 | HDPE Male Adaptor 25mm | pieces | 1
51 | HDPE Male Adaptor 32mm | pieces | 1
52 | HDPE Male Adaptor 40mm | pieces | 1
53 | HDPE Male Adaptor 50mm | pieces | 1
54 | HDPE Male Adaptor 63mm | pieces | 1
55 | HDPE Male Adaptor 75mm | pieces | 1
56 | HDPE Male Adaptor 90mm | pieces | 1
57 | HDPE Male Adaptor 110mm | pieces | 1
58 | HDPE Male Adaptor 20mm | pieces | 1
59 | HDPE Female Adaptor 20mm | pieces | 1
60 | HDPE Female Adaptor 25mm | pieces | 1
61 | HDPE Female Adaptor 32mm | pieces | 1
62 | HDPE Female Adaptor 40mm | pieces | 1
63 | HDPE Female Adaptor 50mm | pieces | 1
64 | HDPE Female Adaptor 63mm | pieces | 1
65 | HDPE Female Adaptor 75mm | pieces | 1
66 | HDPE Female Adaptor 90mm | pieces | 1
67 | HDPE Female Adaptor 110mm | pieces | 1
68 | HDPE Female Adaptor 160mm | pieces | 1
| HDPE COUPLING | Units | Qty
69 | HDPE Coupler 20 mm | pieces | 1
70 | HDPE Coupler 25mm | pieces | 1
71 | HDPE Coupler 32mm | pieces | 1
72 | HDPE Coupler 40mm | pieces | 1
73 | HDPE Coupler 50mm | pieces | 1
74 | HDPE Coupler 63mm | pieces | 1
75 | HDPE Coupler 75mm | pieces | 1
76 | HDPE Coupler 90mm | pieces | 1
77 | HDPE Coupler 110mm | pieces | 1
78 | HDPE Coupler 160mm | pieces | 1
| REDUCING TEE | Units | Qty
79 | HDPE Tee Reduced 25mm x 20mm
80 | HDPE Tee Reduced 32mm x 20mm | PIECES | 1
81 | HDPE Tee Reduced 32mm x 25mm | PIECES | 1
82 | HDPE Tee Reduced 50mm x 25mm | PIECES | 1
83 | HDPE Tee Reduced 50mm x 32mm | PIECES | 1
84 | HDPE Tee Reduced 50mm x 20mm | PIECES | 1
85 | HDPE Tee Reduced 90mm x 32mm | PIECES | 1
86 | HDPE Tee Reduced 63mm x 20mm | PIECES | 1
87 | HDPE Tee Reduced 63 mm x 25mm | PIECES | 1
88 | HDPE Tee Reduced63 mm x 32mm | PIECES | 1
89 | HDPE Tee Reduced 63 mm x 50mm | PIECES | 1
90 | HDPE Tee Reduced 63 mm x 40mm | PIECES | 1
91 | HDPE Tee Reduced 90mm X 63mm PN16 | PIECES | 1
92 | HDPE Tee Reduced 90mm X 50mm PN16 | PIECES | 1
93 | HDPE Tee Reduced 75mm X 63mm PN16 | PIECES | 1
94 | HDPE Tee Reduced75mm X 50mm PN16 | PIECES | 1
| HDPE END CUP | Units | Qty
95 | HDPE End Caps 90mm | PIECES | 1
96 | HDPE End Caps 63mm | PIECES | 1
97 | HDPE End Caps 50mm | PIECES | 1
98 | HDPE End Caps 32mm | PIECES | 1
99 | HDPE End Cap 25mm | PIECES | 1
100 | HDPE End Cap 20mm | PIECES | 1
101 | HDPE End Caps 75mm | PIECES | 1
| HDPE SADDLE CLUMP | Units | Qty
102 | HDPE Saddle Connector 75mm x 32mm | PIECES | 1
103 | HDPE saddle connector 110mm x 25mm | PIECES | 1
104 | HDPE saddle Connector 110mm x32mm | PIECES | 1
105 | HDPE saddle Connector 110mm x 50mm | PIECES | 1
106 | HDPE saddle connector 110mm x 63mm | PIECES | 1
107 | HDPE saddle connector 110mm x 75mm | PIECES | 1
108 | HDPE saddle connector 110mm x 90mm | PIECES | 1
109 | HDPE saddle connector 75mmx 63mm | PIECES | 1
110 | HDPE saddle connector 75mm x 50mm | PIECES | 1
111 | HDPE saddle connector 75mm x 40mm | PIECES | 1
112 | HDPE saddle connector 90mm x 75mm | PIECES | 1
113 | HDPE Saddle Connector 25mm x 20mm | PIECES | 1
114 | HDPE Saddle Connector 32mm x 20mm | PIECES | 1
115 | HDPE Saddle Connector 32mmx25mm | PIECES | 1
116 | HDPE Saddle Connector 50mmx20mm | PIECES | 1
117 | HDPE Saddle Connector 63mmx20mm | PIECES | 1
118 | HDPE Saddle Connector 90mmx20mm | PIECES | 1
119 | HDPE Saddle Connector 90mmx25mm | PIECES | 1
120 | HDPE Saddle Connector 50mmx25mm | pieces | 1
121 | HDPE Saddle Connector 50mmx32mm | pieces | 1
122 | HDPE Saddle Connector 63mmx50mm | pieces | 1
123 | HDPE Saddle Connector 63mmx32mm | pieces | 1
124 | HDPE Saddle Connector 63mmx25mm | pieces | 1
125 | HDPE Saddle Connector 90mmx63mm | pieces | 1
126 | HDPE Saddle Connector 90mmx50mm | pieces | 1
127 | HDPE Saddle Connector 90mmx32mm | pieces | 1
128 | HDPE Tee Equal 32mm PN10 with Male/ Female | PIECES | 1
129 | Female thread on outlet.
130 | HDPE Tee reduced 32mmx25mm PN 10 with | PIECES | 1
131 | Male/Female thread on outlet.

## METERS
TENDER FOR THE SUPPLY OF CLEAN WATER METER
TENDER REF NO;EMBE 2026-2027/05
ITEM | DESCRIPTION | UNIT | QTY | Meter class
PRICE
1 | 15mm (1/2") | NO | 1 | Class "B"
2 | 20mm (3/4") | NO | 1 | Class "B"
3 | 25mm (1") | NO | 1 | Class "B"
4 | 40mm (11/2'') | NO | 1 | Class "B"
Woltmann Type Bulk Meters (Cast Iron or Co-polymer Body)
5 | 50mm (2") | NO | 1 | Class "B"
6 | 80mm (3") | NO | 1 | Class "B"
7 | 100mm (4") | NO | 1 | Class "B"
8 | 150mm (6") | NO | 1 | Class "B"
9 | 200mm (8") | NO | 1 | Class "B"
10 | 250mm (10") | NO | 1 | Class "B"
11 | 300mm (12'') | NO | 1 | Class "B"
12 | 350mm (14") | NO | 1 | Class "B"
13 | 400mm (16") | NO | 1 | Class "B"
14 | 15mm (1/2") with G.I meter liners | NO | 1 | Class "B"
DESCRIPTION |  | Qty | PRICE
METER UNION 1/2" |  | 1
METER UNION 3/4"" |  | 1
METER UNION 1" |  | 1
SEALING BEADS |  | 1
SEALING WIRE COPPER COATED |  | 1
SEALING PLUG WHITE 1/2" |  | 1
SEALING PLUG WHITE 3/4"" |  | 1
SEALING PLUG WHITE 1" |  | 1
STRAINERS WITH STEEEL ELEMENT 1" |  | 1
STRAINERS WITH STEEEL ELEMENT 11/2" |  | 1
STRAINERS WITH STEEEL ELEMENT 2" |  | 1
STRAINERS WITH STEEEL ELEMENT 3" |  | 1
STRAINERS WITH STEEEL ELEMENT 4" |  | 1
STRAINERS WITH STEEEL ELEMENT 6" |  | 1

## T.CHEMICALS
SUPPLY AND DELIVERY OF WATER TREATMENT CHEMICALS
TENDER No. EMBE/2026-2027/04
EMBE WATER AND SANITATION COMPANY LTD
TENDER NO. EMBE/2026-2027/04 - WATER TREATMENT CHEMICALS
Item | Descriptions | UNIT | QTY | PRICE
1 | Coagulants
1.2 | ALLUMINIUM SULPHATE | Kg | 1
IN POWDER FORM 17%(50kgs)
1.3 | Polymers | Kg | 1
1.4 | Calcium Hypochlorite powder | Kg | 1
2 | PH Correction
2.1 | SODA - ASH | Kg | 1
.
3 | Disinfectants
3.1 | HTH (65%) (45 kg) | Kg | 1
70%
4 | Others
4.1 | DPD | Tablets | 1
4.2 | Polyaluminium chloride | Kg | 1
4.3 | Improchem Primco 144 | Kg | 1

## Stationery
SUPPLY AND DELIVERY OF STATIONERY, TONNERS AND PLOTTER INKS
(RESERVED FOR SPECIAL GROUPS)
TENDER No. EMBE/2026-2027/008
(RESERVED FOR THE YOUTH, WOMEN AND PERSONS WITH DISABILITY)
|  | UNIT | QTY
PRICE
1 | BIC PENS (CLEAR | PIECES | 1
2 | BICPENS (FINE POINTED) | PIECES | 1
3 | BINDER CLIPS 2" WIDTH | PIECES | 1
4 | BINDING TAPE (AFRI-TAPE) | PIECES | 1
5 | BOX FILE A4 (ROBIN) | PIECES | 1
6 | BOX FILE A4 (LEVER ARCH | PIECES | 1
7 | CARBON PAPER (PELICAN)-205 | REALM | 1
8 | CELLOTAPE 1" | PIECES | 1
9 | COUNTER BOOK 3QUIRE (KASUKU) | PIECES | 1
10 | COUNTER BOOK 2QUIRE (KASUKU) | PIECES | 1
11 | COUNTER BOOK 4QUIRE (KASUKU) | PIECES | 1
12 | COUNTER BOOK 6QUIRE (KASUKU) | PIECES | 1
13 | DELIVERY BOOKS | PIECES | 1
14 | EMBOSSED PAPER BLUE | pkt | 1
14 | EMBOSSED PAPER GREEN | pkt | 1
1
15 | ENVELOPES (SMALL) WHITE | Packets of 50 | 1
16 | ENVELOPES (SMALL) KHAKI | Packets of 50 | 1
17 | ENVELOPES (WHITE) A5 | Packets of 50 | 1
18 | ENVELOPES A3 (KHAKI) | Packets of 50 | 1
19 | ENVELOPES A4 (KHAKI) | Packets of 50 | 1
20 | ENVELOPES B4 (KHAKI) | Packets of 50 | 1
21 | ENVELOPES A5 (KHAKI) | Packets of 50 | 1
25 | EXECUTIVE OFFICE IN-OUT TRAY 4 TRAYS | PIECES | 1
26 | EXECUTIVE OFFICE IN-OUT TRAY 3TRAYS | PIECES | 1
22 | Clear Folders A4 pvc Plastic Managerial file m-320A | PIECES | 1
23 | Folder A4 manila | PIECES | 1
29 | FULL SCAPS A4 (KASUKU) | REALM | 1
30 | HIGHLIGHTER PENS (GREEN) | REALM | 1
31 | LAMINATING FILM A4 | REALM | 1
32 | LAMINATING FILM I.D SIZE | REALM | 1
33 | LOOSELEAF PADS (KASUKU) | PIECES | 1
34 | Permanent marker pens (STAEDTLER) | PIECES | 1
35 | MASKING TAPE (KATICO) MEDIUM | PIECES | 1
36 | OFFICE GLUE 160G | PIECES | 1
37 | PAPER CLIPS HX-28 | Packets of 10 | 1
38 | PAPER CLIPS 11/41 ( round) | Packets of 10 | 1
39 | PAPER PUNCH LARGE OFFICE POINT PP 900 | PIECES | 1
40 | PAPER PUNCH Kangaro DP-700 | PIECES | 1
41 | PEN HOLDERS (OMEGA) 1705 | PIECES | 1
42 | PENCILS HB 110 (STAEDTLER) | PIECES | 1
43 | PHOTOCOPY PAPERS A4 (MONDI) or Equivalent | REALM | 1
44 | PHOTOCOPY PAPERS A4 (PAPERLINE) or equivalent | REALM | 1
45 | PHOTOCOPY PAPERS A4 (SOUTHERNSTAR) | REALM | 1
46 | PHOTOCOPY PAPERS A3 (MONDI) | REALM | 1
47 | PLASTIC SPRING FILES (RAPID), TEEPEE | PIECES | 1
48 | POCKET SIZE FIELD NOTE BOOKS (HARDCOVER) 15CMX10CM | PIECES | 1
49 | PRITT GLUE 43G HENKEL | PIECES | 1
50 | PVC COVER CLEAR POCKET A4 W-209 | PIECES | 1
51 | RAZOR BLADES (NACET) | PIECES | 1
52 | RUBBER Errasor (perican 40) (BIG) | PIECES | 1
53 | Quality rubber bunds 100gms MBUNI | PACKET | 1
54 | Rulers (transparent) HACO 30cm | PIECES | 1
55 | SCRIPPLING PADS (ROBIN) | PIECES | 1
56 | SHORTHAND NOTE BOOKS (KASUKU) A5 | PIECES | 1
57 | STANDARD ANALYSIS BOOK S505 | PIECES | 1
58 | STANDARD ANALYSIS BOOK S816 | PIECES | 1
59 | STANDARD ANALYSIS BOOK S511 | PIECES | 1
60 | Staple remover Kangaro SR 45 | PIECES | 1
61 | STAPLER GIANT | PIECES | 1
62 | STAPLER MEDIUM KANGARO DS-210(384556) | PIECES | 1
60 | STAPLES 23/7 Kangaroo | PACKET | 1
62 | Staples 24/6-5m Kangaro no:384556 | PACKET | 1
63 | STICK NOTES (MEDIUM) 3 X 3 | PIECES | 1
64 | SPRING FILE PLASTIC(RAPID) | PIECES | 1
65 | THUMB TUCKS | PACKET | 1
66 | WHITE OUT (20ML) | PIECES | 1
67 | STAMP INK 5-62 AKSHOR | PIECES | 1
68 | CALCULATOR CASIO DJ-120T12 | PIECES | 1
69 | SCIENTIFIC CALCULATOR | PIECES | 1
70 | MASTER ROLLS A4 | PIECES | 1
71 | MASTER ROLLS A5 | PIECES | 1
PRINTING SELF CARBONATED BOOKS- Bidders should view samples first
1 | WORK TICKET BOOKS, 100 pages | PIECES | 1
2 | RECEIPT BOOK,100 pages | PIECES | 1
3 | FUEL DETAIL ORDER BOOK | PIECES | 1
100 pages
4 | PAYMENT VOUCHER BOOK | PIECES | 1
100 pages
5 | STORES ISSUE BOOK | PIECES | 1
100 pages
6 | REQUISITION BOOK | PIECES | 1
100 pages
7 | CHEMICAL ANALYSIS BOOK | PIECES | 1
100 pages
Printer and copier toners and cartridges
10 | Ink Epson L1800 (L1800 Black ) | PIECES | 1
11 | Ink Epson L1800 (L1800 Blue ) | PIECES | 1
12 | Ink Epson L1800 (L1800 red ) | PIECES | 1
13 | Ink Epson L1800 (L1800 Yellow ) | PIECES | 1
14 | Ink Epson L1800 (L1800 Margeta ) | PIECES | 1
18 | Tonner 85A (HP Lasejet Pro M 1132 MFP) | PIECES | 1
19 | Epson WF – 7015 CISS PRINTER | PIECES | 1

## Motor cycle spare parts
SUPPLY AND DELIVERY OF MOTORCYCLE SPARE PARTS
TENDER No. EMBE/2026-2027/012
NO | DESCRIPTION | UNIT | QUANTITY | PRICE
1 | Foot rest TVs | No | 1
2 | Clutch cables | No | 1
3 | Brake pads TVs | No | 1
4 | Clutch cables cg | No | 1
5 | Bearings | No | 1
6 | Bolts and nuts | No | 1
7 | Dima switch | No | 1
8 | Piston rings TVs | No | 1
9 | Piston kit TVs | No | 1
10 | Valves & seal TVs | No | 1
11 | Gasket complete | No | 1
12 | Sprocket studs TVs | No | 1
13 | Side stands | No | 1
14 | Spark plug TVs | No | 1
15 | Tyres 300 x 18 | No | 1
16 | Tube 300x 18x17 | No | 1
17 | Tyre 275x18 | No | 1
18 | Tyres MRF 300x17 | No | 1
19 | Tubes 410x18 | No | 1
20 | Air filter TVs | No | 1
21 | Spark plug cg | No | 1
22 | Speed cables TVs | No | 1
23 | Drive set | No | 1
24 | Tube 275x21 | No | 1
25 | Batteies | No | 1
26 | Shork absober | pair | 1
27